## Blank Template
A1 Group Risk Assessment Form
Above Ground Pipe Installation
Date: |  | 2019-01-01 | [8 empty] | Security and Retention Period: Standard
Assessment Type : |  | Re Assessment | Conducted By: |  | Sean Whittle H&S Advisor | [5 empty] | Version 1.0
A | B | C | D | E | F | G | H | Impact | J | K | L
Ref No. | Activity / Task / Equipment | Controls currently in place | Threat / Hazard | Frequency | Value 1-5 | Vulnerability | Value 1-5 | Impact | Value 1-5 | Risk Value FXHXJ | Corrective Action requirement
1 | Where the job involves working at height | Any work activity where there is a risk of falling a distance liable to cause personal injury. Ground Collapse, Services or Flooding. | All employees, co-workers and public in the area, employees working in the excavation, utilities property. | very unlikely | 1 | ? | 2 |  | 5 | 10 | Not required
2 | Whilst Operatives are working in excavation objects could be knocked into hole | 1) Employees to receive training to ensure they are competent and comfortable working in confined spaces. 2) All areas where there is a risk of falling (e.g. manholes, pit entries etc.) to be identified and controlled via the use of rigid barriers. 3) Ensure slip and trip hazards are removed in the work area. 4) Ensure all employees to be made aware of risks. 5) All pipe work to be adequately supported. 6) Excess water to be removed using pumping equipment, if required. 7) Employees must be made aware if persons are working above them. 8) Safety guard rails around any areas relating to the task. 9) Ensure there is adequate lighting when working at height. 10) Ensure protection from contacting sewage. 11) All employees must be wearing the correct PPE. As procedure: • High visibility clothing. • Eye protection. • Head protection. • Safety footwear. • Gloves. 12) Ensure all risks from falls are suitably protected before leaving any site. For example replacing pit covers etc. 13) Ensure correct placement of signage to warn others of dangers. 14) Ensure emergency procedures are in place and there are means of contacting emergency services. 15) Ensure first aid assistance is available. 16) Dynamic and site specific risk assessments have to be completed for arising hazards not included in this risk assessment. | All employees, co-workers and public in the area, employees working in the excavation, utilities property. | very unlikely | 1 | ? | 2 |  | 5 | 10 | Not required
3 | Whilst Operatives are working in excavation the sides of the hole collapse |  | All employees, co-workers and public in the area, employees working in the excavation, utilities property. | very unlikely | 1 | ? | 2 |  | 5 | 10 | Not required
4 | Operatives whilst digging excavation hit a cable which results in Electrocution or pipework which results in Gases escaping |  | All employees, co-workers and public in the area, employees working in the excavation, utilities property. | very unlikely | 1 | ? | 2 |  | 5 | 10 | Not required
5 | Operatives whilst conducting work Slip on lose ground, trip on equipment that has been left around and not put away or fall into open excavation |  | All employees, co-workers and public in the area, employees working in the excavation, utilities property. | very unlikely | 1 | ? | 2 |  | 5 | 10 | Not required
6 | If replacing old sewerage pipework then there is risk of coming into contact with raw sewerage |  | All employees, co-workers and public in the area, employees working in the excavation, utilities property. | very unlikely | 1 | ? | 2 |  | 5 | 10 | Not required
Value | Frequency | Vulnerability | Impact |  |  |  | Risk Value | Meaning | Requirement
5 | Certain | Unmanaged | Catastrophic / Death |  |  |  | 40+ | Very High Risk | Improvement required
4 | Likely | Reactive Management | SLA compromised / Permanent Disability |  |  |  | 31 to 40 | High Risk | Improvement required
3 | May Happen | Workaround Planned | Workaround possible / Serious injury |  |  |  | 21 to 30 | Medium Risk | Improvement opportunity
2 | Unlikely | Developed Management | Easy Workaround / Minor injury |  |  |  | 11 to 20 | Low Risk | No action required
1 | Negligible | Negligible | Negligible |  |  |  | 1 to 10 | Very Low Risk | No action required
Note on D7: Type either of the following: a) Initial b) Re-Assessment